## An Occultation Timing Primer

Updated: 2002 October 29; limited update 2007 Oct. 8

This was requested in a message by Steve Gemeny; below is my response, updated Oct. 10 and 29.  Another good beginners article was written by Guy Nason and placed on the Web site of the Toronto Centre of the Royal Astronomical Society of Canada.

__________________________

Since this was written, an important video timing device has become available; it is the Kiwi OSD (On Screen Display) GPS video time inserter, designed by Geoff Hitchcock, "Kiwi Geoff", in New Zealand and now manufactured by PFD Systems in Bethesda, MD.  Details about it are on the PFD Systems Web site here.

__________________________

Also, now available, giving much more detailed information about observing occultations of all kinds, for those who want more information than the summary information given here, is IOTA's online observing manual, "Chasing the Shadow:  The IOTA Occultation Observer's Manual" available for free download here.

__________________________

Steve,

You asked about a primer for occultations, so I'll attempt to give one below.  Besides the main IOTA site, http://www.lunar-occultations.com/iota ,

there is some more basic information in the observing/occultations section of Sky and Telescope's Web site, http://skyandtelescope.com

When you get into Sky and Telescope's site, in the upper left, click on "observing".  From that menu, click on "celestial objects", and in the list of those, click on "occultations".  The Sky and Telescope site is set up so that you have to go through this procedure; their subpages are not directly accessible.

Joe Sedlak commented that my write-up below is too advanced, especially for scouts and middle/high-school students, and provided additional background information to help explain asteroidal occultations, and timing them, here.

Basically, make timings with whatever resources you have.  First, for time signals, it's most convenient to use a shortwave receiver that can pick up WWV time signals at 5.0 and 10.0 megahertz.  For those who want WWV, Radio Shack sells a digital short-wave receiver for between $70 and $100, depending on sales; a digital-tuning radio is much preferred to an analog one since it's so much easier to quickly find the station.  Those who don't have short-wave receivers for WWV or CHU might get a WWVB-controlled alarm clock, such as item 63-964 available for $30 from Radio Shack.  You can ensure accurate time by briefly removing the batteries an hour or so before the occultation; that will force the clock to reset using WWVB.  You should set the alarm to go off 2 or 3 minutes before the occultation; start your tape recorder (or camcorder used for audio recording before that to record the alarm for a few seconds, then your voiced calls of the occultation disappearance(s) and reappearance(s), and then set the alarm to go off again 1 or 2 minutes in the future, and keep the

recording going to record it as well.  The audio alarm is accurate to 0.01 sec. or so, but the LCD display has a delay of about 0.1 second at room temperature, and much greater as the temperature approaches or drops below freezing.  So use the alarm for timing, not the display, which, however, is useful for keeping track of the time to the nearest second so that you know when to observe (this makes these clocks useful even if you have a short-wave receiver).  Similar radios are available using the German DCF77 transmissions from Germany.

Another source for accurate time would be just a car radio, if in a given area, a coordinator will record a selected strong local AM or FM standard broadcast radio station along with WWV time signals.  This master tape can then be used to determine the times of syllables spoken in the selected standard broadcast that those with only a car (or transistor) radio record along with their event calls.  In the Washington, DC area, the strong AM station WTOP at 1500 kilohertz can be

used.

A few observers use stopwatches for timing, just starting the watch at the occultation and stopping it to a time signal.  But for an asteroid occultation, where there are two events to time, you need either two stopwatches, or one

with a split arm, or digital method for two timings.  And the star might be a close double (as we know to be the case for ZC 593 that will be occulted by 431 Nephele on Nov. 2/3), perhaps producing 4 events instead of 2.  So I do not recommend stopwatches for timing events in real time; they can be used to determine times from a recording of a visual observation.

It is better to make at least an audio recording during the occultation, so that either WWV or WTOP can be recorded along with the observer's calls of the occultation events.Tape recorders are relatively inexpensive, selling for about

$25 at numerous stores.  These days, many tape recorders use voice activation to save tape, only recording when there is sound; that, of course, makes them useless for timing.  So if someone buys a tape recorder for timing, be sure to get one that either doesn't have voice activation, or that can turn off that feature.  After the occultation, the recording can be played back several times with a stopwatch (even the stopwatch function available on most digital wrist watches) to time from a WWV minute tone, or a distinct syllable in a word in the WTOP broadcast, to the event call.  Also, when you record the observation, you can give some estimate of your reaction time, or at least say something like "I think I was about a full second slow in calling out the event".

These days, many families are more likely to have camcorders than tape recorders.  A camcorder records audio as well as video, so they can be used like tape recorders to record a visual observation.  Those with large telescopes,

about 12 inches or larger, could even video record a 9th-mag. occultation by pointing the camcorder into a low-power eyepiece [for a star as bright as ZC 593 or pi Arietis that will be occultation by Nephele or Lindemannia (respectively)

during November, even a 2-inch or 3-inch telescope should work].  If you do that, practice beforehand, first on the Moon, then on bright stars.  It's best to use manual focus rather than automatic focus; you can maintain the proper focus better if it is fixed.  Video recordings eliminate the reaction time uncertainties of visual observations and so are preferred for timing occultations, when they can be made to work.  But visual observations are better than no observations, since the shape of an asteroid, especially near

the path edges, is best determined by observations from many locations.

The best observations are made with a small video camera attached to the telescope, with its output, and audio from a microphone, recorded with either a VCR, or a camcorder that accepts input lines for recording in VCR mode (inexpensive camcorders don't have that capability).

IOTA recommends the PC-164C camera, available for about $130 from http://www.supercircuits.com (to place orders quickly, call 1-800-335-9777).  That camera can see about as well as you can with an eyepiece with most any telescope, and in some cases even better; it is very sensitive, and for

a 9th-mag. star, it should be able to record it with a 3-inch telescope or larger.  For this, you also need a C-mount to eyepiece adaptor so the camera, which only weights a few ounces and is about 2 inches long and 1.3 inches wide, can be inserted into a standard 1.25" eyepiece holder; Adirondack Video sells such an adaptor for about $35.  The PC-164C has a BNC male for the video, so you need to get a female BNC to female RCA adaptor from Radio Shack to connect to standard video (RCA) wires.  You also need a video microphone; tape recorder microphones are too weak (mismatched impedance) to work with VCR's.  Supercircuits (above) sells a small video microphone called the PA3 for about $13; if you order one, you should also ask for a TAB adaptor, about $2 more, to

use it with the standard small 9-volt batteries.  Also recommended for those with SCT's is a focal reducing lens to obtain a wider field of view with the small camera chip; best is the f/3.3 Meade focal reducer sold by FocusCamera

in New York for about $150 (and available from some other sources of Meade products); also useful and less expensive is an f/6.4 focal reducing lens available from Orion and other sources.  For more on video, see the main IOTA Website, especially the item near the top by Richard Nugent, and the items right after it that give some additional information.  I will help answer questions from those who start to get into this.

Most important is being able to locate the star. Print the detailed finder chart from the main IOTA Website and practice locating the star well before the

occultation, preferably some night before the event. If your telescope doesn't have a good go-to capability, then it should have a good finder scope, 50mm or larger aperture, so that it can see 7.5 to 8th-mag. stars in a 4 deg. or larger field of view.