The Analysis of Time Stamped Videos and the

Introduction of a new Analysis Spreadsheet

by Brad Timerson, Tony George, and Ted Blank

March, 2013

Camcorders such as the Canon ZR models place an internal clock time stamp in each frame of all videos, provided the camcorder clock battery is in place and with proper charge.  While this internal clock time stamp is only calculated to the nearest whole second, it can be used where KIWI, IOTA-VTI or other valid GPS time inserter time stamps have been placed on the same video tape before and after the event.  This allows the observer to determine event times to millisecond accuracy even from videos taken in multi-station occultation deployments where the recording of the actual event does not have a GPS timestamp on every frame.  This technique makes the reasonable assumption that the drift of the ZR internal clock is constant over the interval of the event.  However to minimize error it is recommended that the camera temperature be allowed to stabilize at the outdoor temperature expected for the event before recording the pre-event GPS timestamp, and that the pre- and post-event GPS timestamps be recorded as close to the event time as possible.

This paper describes the procedures to be used in this analysis and introduces a new spreadsheet that completes all the needed calculations to derive event Disappearance and Reappearance times. It is expected the user has a working knowledge of uploading videos from their camcorder to the computer or can get videos from other observers through such resources as Google Drive or DropBox. The user should also have a working knowledge of LiMovie, AviSynth, and Occular.

Download and install (if you haven’t already) AviSynth 2.5. at http://www.avisynth.org .

Get the version of AviSynth appropriate for your computer, 32-bit or 64-bit. As of the date of this paper (March, 2013), the version available is 2.5.8.  Install AviSynth 2.5 in its own folder on your C:\Program Files (x86) folder.

You will also need a plugin for AviSynth called DVInfo, also available from the AviSynth site. Go to:  http://www.avisynth.nl/users/warpenterprises/  Scroll down to find DVInfo. Clicking on the link should initiate a download of the zip file. Extract the files in the Zip folder to the Plugin folder of AviSynth.

In the field, remember to follow the instructions for your GPS time inserter to validate that it is providing reliable times.  This usually involves a confirmation that the unit has been running long enough to download the latest almanac from the GPS satellites.  For example, the IOTA-VTI operations manual recommends powering it for at least 15 minutes before it is needed and also insuring that the hourglass signifying an out-of-date almanac is not being displayed.  It is important that these time insertion units be operated in a way that provides reliable times.

Create or receive your video files. There should be three video clip files for each location-  PRE-, POST-, and EVENT video files. The PRE- and POST- video files are typically 15-20 second segments which contain the traditional GPS video timestamps inserted using the KIWI or IOTA/VTI units.  The EVENT video clip extracted from the longer recording should include the event plus about 30 seconds before and after to give Occular (or other analysis software) the information needed to find the beginning and end of the event. All videos should be in the AVI video format.

PRE- and POST- videos are processed similarly to each other. Within the folder where you are going to store and process your video files, create the files shown below.  Each is an AVS script, simply a file with the extension “.avs” containing AVS commands.   Instead of opening the AVI file directly in LiMovie, we open the AVS script file in LiMovie.  LiMovie then reads the AVS script file and opens the AVI video file referenced in the ClipMain statement, while at the same time applying the DVInfo plugin.

Event_Name_PRE.avs:    (change the string “PRE_Video.avi” to the name of your pre-event AVI video clip)

LoadPlugin("dvinfo.dll")

ClipMain = ("PRE_Video.avi")

DirectShowSource(ClipMain , pixel_type="RGB24")

DVInfo(ClipMain, "tc_time", 50, 440, "Gothic", 30, 255*65536+255*256+255, 0*65536+0*256+0 ,"%x")

DVInfo(ClipMain, "rec_time", 250, 440, "Gothic", 30, 255*65536+255*256+255, 0*65536+0*256+0 ,"%X  (%a)")

Event_Name_POST.avs:    (change the string “POST_Video.avi” to the name of your post-event AVI video clip)

LoadPlugin("dvinfo.dll")

ClipMain = ("POST_Video.avi")

DirectShowSource(ClipMain , pixel_type="RGB24")

DVInfo(ClipMain, "tc_time", 50, 440, "Gothic", 30, 255*65536+255*256+255, 0*65536+0*256+0 ,"%x")

DVInfo(ClipMain, "rec_time", 250, 440, "Gothic", 30, 255*65536+255*256+255, 0*65536+0*256+0 ,"%X  (%a)")

Place all video files to be analyzed in the same folder that contains the AviSynth script files (.AVS).

First we will look at the analysis of the PRE- video file. This same procedure will be used later for the POST- video file.

Open LiMovie. At the top, select the folder containing the .avs files and your videos. Click “AVI File Open”.  From the “Files of Type:” drop-down list, choose .avs files instead of the default of .avi files. Your newly created .avs files should now be listed. Choose the PRE-event.avs file and then “Open”. If all is working correctly, your video should open and the camcorder’s time stamp should be shown along the bottom edge. Under “Measurement/View Options” click the “Field View” button to display the video as two fields. Click the “1Fr+” button to move through the video one frame at a time.

We need to associate a time stamp from the camcorder with the time from the time inserter. Do this by stepping forward through the video one frame at a time until the camcorder time (the one labelled either “AM” or “PM”) increments to the next whole second. Any whole second can be used. Below are two views showing the camcorder time stamp incrementing to the next whole second (from 11:59:09 PM to 11:59:10 PM) after hitting the “1Fr+” button once. Notice the field view of the time inserter above the time step. Also notice the frame counter on the left has moved from “-02” to “-03”.

Display before hitting 1Fr+ button

Display after hitting 1FR+ button

Two times need to be recorded from the display where the time has just changed to the next whole second.  One is the UT from the KIWI/IOTA-VTI time inserter. In this case, the time to be recorded would be 5:03:27.590.  .590 was recorded because in LiMovie, that is the time shown in both field views (top field view not shown here). Call this recorded VTI time Step 1 for use in the spreadsheet later. The other time to record is the camcorder time stamp. In this case, one should record 11:59:10 PM.  (The AM/PM portion is important.)  Call this recorded camcorder time stamp Step 2.

Repeat all these steps with the POST- video. To do this, open in LiMovie the Event_Name_POST.avs script to show this new video. Step through the video until the camcorder time stamp rolls to a new whole second. Now record the associated VTI time inserted value and call it Step 3. The camcorder time stamp recorded will be Step 4.

At this point you should have four times recorded:

Step 1 - GPS timestamp (with milliseconds) from PRE-event video clip

Step 2 - Camcorder timestamp (whole second) from PRE-event video clip

Step 3 - GPS timestamp (with milliseconds) from POST-event video clip

Step 4 - Camcorder timestamp (whole second) from POST-event video clip

We move on now to the analysis of the EVENT video clip. It is assumed at this point that an analysis of this file has been completed using LiMovie (or Tangra) to obtain a CSV file. This CSV file should be analyzed by eye, or by using Occular to obtain the frames associated with the Disappearance and Reappearance events.  These frames will now be found in the time stamped video. Lacking an Occular analysis, record your best estimate of the frame numbers for each of these events.  Your reported accuracy may be slightly reduced because you are not measuring fractional frames.  Fractional frame times can improve timing accuracy for high (>2.0) SNR light curves.

In the example to be used here, Occular showed that the Disappearance occurred at frame 128.14 and the Reappearance at frame 388.20 of the Event AVI video file.

Create the AVS script below:

Event_Name_EVENT.avs:    (change the string “EVENT_Video.avi” to the name of your actual event AVI video clip)

LoadPlugin("dvinfo.dll")

ClipMain = ("EVENT_Video.avi")

DirectShowSource(ClipMain , pixel_type="RGB24")

DVInfo(ClipMain, "tc_time", 50, 440, "Gothic", 30, 255*65536+255*256+255, 0*65536+0*256+0 ,"%x")

DVInfo(ClipMain, "rec_time", 250, 440, "Gothic", 30, 255*65536+255*256+255, 0*65536+0*256+0 ,"%X  (%a)")

Open the Event_Name_EVENT.avs file in LiMovie.  You will notice that only the camcorder timestamp is visible, because there was no GPS time inserter present during the event.  Move forward in the video to a position before frame 128.  We need to find the part of the video where the time stamp increments to the next whole second BEFORE frame 128.  Below is the view showing that in this clip, the time stamp incremented to the next whole second at frame 123.

This time stamp at frame 123, 04:42:24 AM, should be recorded as Step 5. Now step forward in the video using “1Fr+” until you get to frame 128, and count the number of frames required. This would require 5 steps. Since the Disappearance occurred at frame 128.14, record 5 plus 0.14 or 5.14 as Step 6.

Now these steps need to be repeated for the Reappearance. Move to that part of the video before frame 388 and step through the video until the time stamp increments to the next whole second BEFORE frame 388. Below is the view showing that the time stamp incremented to the next whole second at frame 363.

This time stamp at frame 363, 04:42:32 AM, should be recorded as Step 7.  Now step forward in the video using “1Fr+” until you get to frame 388. This would require 25 steps. Since the Reappearance occurred at frame 388.20, record 25 plus 0.20 or 25.2 as Step 8.

You are now ready to enter the data you have recorded in the spreadsheet. The spreadsheet takes all the input data and calculates any drift in the camcorder internal clock that may have occurred and applies a correction to the actual event times. For this reason, the recording of PRE- and POST- videos should occur as close to the actual recording of the occultation to reduce the amount of drift. It’s also important to record these two videos under similar temperature conditions as will be encountered during the event. All these measures will reduce the amount of drift and increase the accuracy of the event times.

Open the “Analyzing a Time Stamped Video” Excel spreadsheet. To create a complete record for yourself or others, fill in the event details at the top of the sheet using the data shown in the template form as an example. Important first step! Use the “Delete” key to remove any entry that appears in Step 9, cell B14.  This value is needed for the final calculation, but creates a circular reasoning error if it’s in place before starting.

Now, enter the values you have recorded for each of the Steps, 1-8, in the appropriate cell on the spreadsheet. Be especially careful to keep the format correct. Also be sure to include the AM/PM as needed. Note that all UT times (Steps 1 and 3) will always be reported as “AM”.

When you finish, you should note a Recorder Drift value in the green cell, C14. It shouldn’t be too large, most likely less than 100. If it’s larger, look for an error in entering times, especially the AM/PM indication. Now enter the value shown in the green cell, C14, into Step 9, cell B14, to 3 decimal places.  After you’ve done that, the green cell, C14, should now be close to zero and you should see a value in the gray cell, B14, to 2 decimal places.

If you’ve gotten this far and all seems in order, you will now see D and R times as well as a Duration in the darker gray cells along the left edge.  These are the times to place on your Report Form.

Congratulations! You have just determined occultation event times from a camcorder time stamped video using PRE and POST GPS time stamped videos!

The authors would like to acknowledge Scotty Degenhardt for developing the PRE- POST- GPS time stamping methodology for video analysis.  Scotty has pioneered the use of single GPS VTIs for time stamping multiple video recorders for use in mobile site deployments.  The methodology used in the “Analyzing a Time Stamped Video” Excel spreadsheet was derived from Scotty’s original Canon ZR Datecode reducer V6.xls spreadsheet.